Heater Radiant Diesel Val 6– Instructions for use

PRE-START CHECKS:

- You need to have sufficient space surrounding the heater at least 1.5m from the wall & the left & right side, at least 1.5m distance from the ceiling & the front side without obstacle.

- Lock the caster to avoid unexpected movement.

- Fill with diesel.

OPERATION:

- Plug into the power supply.

- Turn the power on.

- In order to be operated the setting temp should be hight than the current temp.

- Select temp or time control mode. You can set the desired temp between (0-40c) by pressing the “+/- “)button.

STOPPING AND AFTER USE:

- Turn off and unplug from the power supply.

- Leave to cool down before moving.

- Unlock the caster to move.

SAFETY PRECAUTIONS:

- Do not touch heater when going or immediately after use.

- Do not move the heater while it is going.

- Do not fill the heater when it is going.