33KVA Trailer Generator (Kubota)

[image: image1.png]'SPECIFICATIONS
Set

Engine

Alternator

Fuel

Fuel Tank Cap
Operating hrs
Start System
Weight

Sound Levels
Dimensions

Model

Type
Displacement
Cylinders
Bore & Stroke
Rated Output
Type

Max Output
Rated Output
Voltage
Frequency
Current
Power Factor
Poles

Voltage Regulation

Diesel

68 L

11.5 @ Full Load

Electric

880kgs

64dBA @ 7m

1935mm x 860mm x 995mm

V3300-EBG

Vertical Water Cooled Diesel Engine
3318cc

4

98mm x 110mm

26.8kW @ 1500rpm

Revolving Field
33.0KVA (26.4kW)
30.0kVA (24.0kW)
240/415

50Hz

41.7Amps

8

4

AVR




